ALFA S00.11.150.X
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted steel plate RAL 9003 (.60) or RAL 9005 (.61).
Voltage: 230V
IK code: IK01
Socket: G9
Lamps: 1x48W
A: 142 mm
B: 150 mm
Weight: 800 g